Frozen  section 3-step  IHC with Alkaline Phosphatase label		Tissues used

1: Spleen #

Do not use Alkaline phosphatase label with GI or GU tract tissues		2: Tonsil #

Goal: To check expression of Anti-siglec 5,9  formalin in human tissues

Washing Buffer: 0.05M Tris, 150 mM NaCl 0.01% Tween -TBST

Diluting Buffer: 1% Bovine Serum Albumin (BSA) in TBST

CryoSection, dip X1 100 % ethanol and Air dry slides:  30 min or Overnight

Blocking:

- Endogenous Collagen Binding block Cat.# (Sigma) A4503-50G

- 1% BSA/TBST – 5min.– Tap off

- Endogenous Biotin block: 				Cat. #: SP2001 (Vector)

  - Overlay with 0.1% Avidin – 15 min. ( followed by buffer rinses – 3x

  - Overlay with 0.01% Biotin – 15 min.  ( followed by buffer rinses – 3x

Fix samples: 1. Formalin fix(30 min Cat #: SF93-4(Fisher)(buffer rinses3x( 1% BSA/PBS – 5min.– Tap off

Primary Reagents:      Use at 5 micrograms/ milliliter 			Incubation:

| Mouse IgG Cat N1698 Lot 10059827 Exp date: | 30 min RT |
| --- | --- |
| Mouse Anti Vimentin Cat N1521 lot 10066173 Exp date Mouse Anti Human Siglec 5/14 Clone |  |
| M.Anti Hu Siglec 9 Clone191240 Cat MAB1139 Lot |  |

- 3x Buffer Rinses

Secondary Reagent: 	5 micrograms/ millititer		Incubation Time:

| Biotinylated donkey anti-mouse IgG (Jackson) 715-065-151 Lot 104569 Expiry date | 30 min. RT |
| --- | --- |

- 3x Buffer Rinses

Tertiary Reagent: 							Incubation Time:

| AP-Strep (Jackson) 016-030-084 Lot102865 expiry date | 30 min. RT |
| --- | --- |

- 3x Buffer Rinses

Chromagen:  Vector Blue SK 4200 (Vector)   (Make just before using)      	Incubation Time:

- Vector Blue Buffer: 45 ml MilliQ H20 + 5 ml 1MTrisHCl+10 drops Levamisol+50ul Tween 20.

- Add reagents 1-3 per directions just befor adding to tissue.

- Cover, incubate, watch Control slides for color development, 3x Buffer Rinses

Counterstain:  Nuclear Fast Red for 5 minutes  Incubation Time:

3x Buffer Rinses, 95% Ethanal Rinse X3, 100% Ethanol 10 dips X3, air dry,

Next Day Gel Mount H5000 (Vector)  (Vectamount)    This is not Aqueous. CoverSlip

Results:

Date:  	    										  Operator